{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet1","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":16,"n_cols":9,"rows_kept":16,"merged":[[0,0,0,9],[1,0,1,9],[2,0,2,9],[3,0,3,7],[3,8,3,9],[4,0,4,5],[4,6,4,7],[5,3,5,4],[5,6,5,7],[5,8,5,9],[6,0,13,0],[6,3,6,4],[6,6,13,7],[6,8,6,9],[7,3,7,4],[7,8,7,9],[8,3,8,4],[8,8,8,9],[9,3,9,4],[9,8,9,9],[10,3,10,4],[10,8,10,9],[11,3,11,4],[11,8,11,9],[12,3,12,4],[12,8,12,9],[13,3,13,4],[13,8,13,9],[14,1,14,10],[15,1,15,10]],"flags":["formulas_cached_only"]}
["经开区西部标准化厂房6#楼雨水立管及5#楼顶防水维修项目询价函"]
["宿州市创新投资发展有限公司："]
["     我公司愿按《中华人民共和国政府采购法》等法律规定参加本次采购，如由我公司将严格履行报价承诺及合同，特此声明。"]
["供货单位： （公章）                                                            年      月     日"]
[" 法定代表人签字或盖章："]
["项目名称","序号","项目内容","单位",null,"数量","供应商报价",null,"备注"]
["经开区西部标准化厂房6#楼雨水立管及5#楼顶防水维修项目",1,"冼孔","个",null,28,null,null,"孔径：110mm;\n长度：50cm"]
[null,2,"立管","米",null,252,null,null,"18米/根"]
[null,3,"90°弯头","个",null,56]
[null,4,"直接","个",null,140]
[null,5,"立管栓钉","个",null,140]
[null,6,"胶水","桶",null,20]
[null,7,"5#楼楼顶伸缩防水修复","㎡",null,100]
[null,8,"人工费","式",null,1]
[null,"注：1、供方可以就上述标项进行应标，本表不得自制。"]
[null,"2、应标附件请按照询价公告第七条提供。"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}