{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":32,"n_cols":6,"rows_kept":32,"merged":[[0,0,0,5],[31,0,31,5]],"flags":["formulas_cached_only"]}
["采购清单"]
["序号","名称","规格","型号","数量","备注"]
[1,"PE水管","公称压力：1.0MPa","DN150","120米"]
[2,"PE水管","公称压力：1.6MPa","DN110","330米"]
[3,"法兰组（法兰片、PE法兰头、）","压力等级：1.6MPa","DN110","50套","含螺丝、橡胶垫片"]
[4,"PE弯头","公称压力：1.6MPa","DN110","50个"]
[5,"PE弯头","公称压力：1.6MPa","DN63","20个"]
[6,"法兰止回阀","压力等级：1.6MPa","DN50","5个","法兰连接含螺丝、橡胶垫片"]
[7,"法兰止回阀","压力等级：1.6MPa","DN100","5个","法兰连接含螺丝、橡胶垫片"]
[8,"分水器","压力等级：1.6MPa","DN300×500×100","2个","法兰连接含螺丝、橡胶垫片"]
[9,"分水器","压力等级：1.6MPa","DN100×300×100","3个","法兰连接含螺丝、橡胶垫片"]
[10,"PE钢内丝分水器","压力等级：1.6MPa","DN63×200×20","10个"]
[11,"PE钢内丝分水器","压力等级：1.6MPa","DN63×200×25","10个"]
[12,"电磁流量计","公称压力：1.6MPa","DN100","2个","法兰连接含螺丝、橡胶垫片"]
[13,"排泥阀","压力等级：1.6MPa","DN100","2个","法兰连接含螺丝、橡胶垫片"]
[14,"橡胶瓣止回阀","公称压力：1.0MPa~1.6MPa","DN50","4个","法兰连接含螺丝、橡胶垫片"]
[15,"橡胶瓣止回阀","公称压力：1.0MPa~1.6MPa","DN65","4个","法兰连接含螺丝、橡胶垫片"]
[16,"橡胶瓣止回阀","公称压力：1.0MPa~1.6MPa","DN100","4个","法兰连接含螺丝、橡胶垫片"]
[17,"消防栓水带连接头",null,null,"10个"]
[18,"PVC-U饮水管","公称压力：1.6MPa","DN32","20米","外径32MM厚度2MM"]
[19,"PVC-U饮水管","公称压力：1.6MPa","DN40","20米","外径40MM厚度2MM"]
[20,"UPVC双由令球阀","公称压力：1.6MPa","DN40","5个","抗压耐酸碱"]
[21,"UPVC双由令球阀","公称压力：1.6MPa","DN50","5个","抗压耐酸碱"]
[22,"UPVC三通","公称压力：1.6MPa","DN32","5个","抗压耐酸碱"]
[23,"UPVC三通","公称压力：1.6MPa","DN40","5个","抗压耐酸碱"]
[24,"UPVC弯头","公称压力：1.6MPa","DN32","5个","抗压耐酸碱"]
[25,"UPVC弯头","公称压力：1.6MPa","DN40","5个","抗压耐酸碱"]
[26,"UPVC40变32三通","公称压力：1.6MPa","DN40×40×32","3个","抗压耐酸碱"]
[27,"UPVC专用胶水",null,null,"2瓶"]
[28,"耐腐蚀塑料离心泵","电压380V、功率1.5KW、流量14m³/H、扬程18M","FS40×32·18","1个","进出口径40/32mm"]
[29,"铁丝",null,"16号","10斤"]
["注：PE管参考品牌：联塑、伟星、公元、中财或质量不低于参考品牌的；配件等其它材料：国产一线品牌。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}