{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":20,"n_cols":9,"rows_kept":20,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,10],[2,0,2,10],[4,0,4,10],[5,0,5,10],[6,0,6,10],[7,0,7,6],[7,7,7,10],[8,0,9,1],[8,2,9,4],[8,5,9,5],[8,8,9,10],[10,0,10,1],[10,2,10,4],[10,8,10,10],[11,0,12,1],[11,2,11,4],[11,5,12,5],[11,6,12,6],[11,7,12,7],[11,8,12,10],[12,2,12,4],[13,0,14,1],[13,2,13,4],[13,5,14,5],[13,6,14,6],[13,7,14,7],[13,8,14,10],[14,2,14,4],[15,0,15,1],[15,2,15,4],[15,8,15,10],[16,0,16,1],[16,2,16,4],[16,8,16,10],[17,0,17,1],[17,2,17,4],[17,8,17,10],[18,0,18,10],[19,0,19,10],[20,0,20,10],[21,0,21,10]],"flags":["formulas_cached_only"]}
["宿州市新区水务有限公司第二水厂水泵及泵管配套材料采购项目询价函"]
["各有关供应商："]
["   请你公司派授权代表在2024年3月 27 日 17 时前以书面密封形式（加盖公章）填写本单所列项目报送我公司，我公司询价小组将综合报价、售后服务等因素确定成交供应商。"]
[]
["宿州市新区水务有限公司："]
["     我公司愿按《中华人民共和国政府采购法》等法律规定参加采购项目，如由我公司供货将严格履行报价承诺及合同，特此声明。"]
["供货单位： （公章）                                                                                       年      月      日"]
[" 法定代表人签字或盖章：",{"$nulls":6},"联系电话："]
["序号",null,"货物名称型号",null,null,"数量","报价单价","报价合计","备注"]
[{"$nulls":6},"（元）","（元）"]
[1,null,"井用潜水泵",null,null,"2套",null,null,"品牌：甘泉、南方、新界等一线品牌。含电机、水泵。扬程95-105m，流量45-55m³/h，功率22KW，3寸管连接。"]
[2,null,"3寸不锈钢管",null,null,"100节",null,null,"材质：SS304不锈钢无缝管；管壁厚4mm；法兰厚12mm；配齐止水垫、不锈钢（SS201）螺栓"]
[null,null,"-3米/节"]
[3,null,"3寸不锈钢管",null,null,"3节",null,null,"材质：SS304不锈钢无缝管；管壁厚4mm；法兰厚12mm；配齐止水垫、不锈钢（SS201）螺栓"]
[null,null,"-0.5米/节"]
[4,null,"井口装置400*400",null,null,"3件",null,null,"材质：SS304，板厚20mm，含弯管；配齐止水垫、不锈钢（SS201）螺栓"]
[5,null,"潜水电缆JHS-1*10",null,null,"600米",null,null,"国标"]
[null,null,"合计"]
["注：1、供方可以就上述标项进行应标，本表不得自制。本次采购最高限价合计16万元。"]
["2、供应商报价需含税费、运费、装卸费等相关一切费用。交货或服务提供地点：采购人指定地点。"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}