{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":10,"rows_kept":21,"merged":[[0,0,0,10],[1,0,1,10],[2,0,2,10],[3,0,3,10],[4,0,4,10],[5,0,5,10],[6,0,6,10],[7,0,7,8],[7,9,7,10],[8,0,8,5],[8,6,8,8],[8,9,8,10],[9,0,10,0],[9,1,10,5],[9,6,10,6],[9,7,10,8],[9,9,10,10],[11,0,18,0],[11,6,18,6],[11,7,18,8],[11,9,18,10],[19,0,19,10],[20,0,20,10],[21,0,21,10],[22,0,22,10],[23,0,23,10]],"flags":["formulas_cached_only"]}
["淮海花园小区南门污水管网修复项目询价函"]
["各有关供应商："]
["   我公司拟对淮海花园小区南门污水管网修复项目进行公开询价,请你公司派授权代表在2024年9月3日15时前以书面密封形式（加盖公章）填写本单所列项目现场报送我公司，我公司询价小组将综合报价、公司信誉资质等因素确定成交方。"]
["联系人：曹工 地址：宿州经济技术开发区鞋城五路508号经开区管委会十楼1015室  电话：3088303"]
[]
["宿州市新区建设投资集团有限公司"]
["     我公司愿按中华人民共和国相关法律规定参加本次询价，如由我公司购买将严格履行报价承诺及合同，特此声明。"]
["   竞价单位： （公章）                                                      年      月       日"]
["        法定代表人或授权委托人签字：",{"$nulls":5},"联系电话："]
["项目名称","维修内容",{"$nulls":4},"最高限价","投标人报价",null,"备注"]
[]
["淮海花园小区南门污水管网修复项目","序号","项目","项目特征描述","计量单位","工程量","33000元（含税、施工、材料等一切费用）",null,null,"1、付款约定：修复完成并通过验收后支付工程价款的97%，账期3个月内。剩余3%作为质保金，1年质保期到期后无息支付。\n2、修复过程中，安全责任由修复人承担。"]
[null,1,"拆除人行道","原铺装地面及其基层拆除","平方米",67.7]
[null,2,"挖沟槽土方","土壤类别：综合","立方米",46.45]
[null,3,"回填方",null,"立方米",41.95]
[null,4,"余方弃置","运距：5km","立方米",4.5]
[null,5,"塑料管铺设","1、管道材质：300波纹管\n2、包含闭水试验\n3、包含100厚砂垫层","米",28]
[null,6,"人工封堵管口气囊封堵","管径：400","处",1]
[null,7,"人工封堵管口气囊封堵","管径：600","处",2]
["注：1、报价人可以就上述标项进行应标，本表不得自制。报价人报价需含税金等相关费用。"]
["2、应标时请附：（1）有效的企业法人营业执照副本复印件  （2）法人委托书 "]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}