{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":5,"rows_kept":4,"merged":[[0,0,0,4]],"flags":["formulas_cached_only"]}
["采购清单"]
["序号","名称","单位","数量","备注"]
[1,"办公楼11层-15层二次供水控制柜","台",1,"含ABB变频器一台、西门子PLC和触摸屏、施耐德电器元器件、柜体为国产一线，配套控制水泵7.5KW2个，2.2KW1个。"]
[2,"办公楼11层-15层二次供水供水泵（含电机）","台",2,"1、参数型号：不锈钢立式多级离心泵16-80-7.5。流量≥16m³/h,扬程≥105米，泵体、轴承、叶轮不锈钢材质，且为国产一线品牌（参考品牌“南方泵业、上海阳光泵业、新界泵业”或质量不低于参考品牌），确保并负责与现有底座及管道连接匹配。\n2、质保两年。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}